Experiment 11. Macropinocytosis using Alexa-568 labeled dextran- Flow Cytometry

Dictyostelium cells have the ability to take up materials in fluid phase through various types of endocytic processes including micropinocytosis and macropinocytosis.  Micropinocytosis and caveolae-mediated endocytosis generate very small vesicles, while macropinosomes are very large and easily visible in the microscope.  Once internalized, vesicle fusion in the early endosome compartment will mix material coming in by these different pathways. In addition, the endosomes will become acidified by a membrane associated ATPase that pumps H+ ions into the vesicles.  We will use fluorescent (Alexa 568) dextran, a 10,000MW inert sugar polymer to assay endocytosis in cells.  You will compare the endocytosis in Ax2 and HK323 cells. You can image this dye in the Green excitation/Red emission channel of your microscopes.

Procedure:

I. Washing cells in HL5

- Harvest the cells from your dishes and titer them, then spin them down at 1000rpm for 5 minutes.

- Aspirate the media and then resuspend cells in HL5 to reach a concentration of 2 x 106 cell/ml.

  - You will need about 1x106 cells per timepoint (which is 0.5ml of your cell suspension) per time point.

II.   Setting up tubes

Label 15ml conical centrifuge tubes for the various time points you will be taking.  As you harvest a time point, you will put the cells into a 15ml tube on ice.  The idea is that by rapidly chilling the cells, you stop further uptake and the cells stay in stasis while you wash away the dextran so that only what has been internalized remains.

Prepare a set of tubes for the following:

Tube #1: No dextran control (so you can adjust the flow cytometer background from just cells and media)

Tube #2: x min

Tube #3: x min

….  as many tubes as you decide to do.  You should do at least 60 minutes of uptake, but you can do longer if you have time and cells.

In each of these tubes, add 5 ml of cold HL5.  This will immediately chill the cells to ice temperature when you add the aliquot of cells since uptake will stop in the cold.

III. The Uptake assay

- Add the cell suspension to a glass vial and place the vial on shaker for 15 min to allow them to recover and reach room temperature.  You need at least 3ml of cells, but it would be better to have more so you can take more time points.  Each time point requires 0.5 ml of cells. Set up at least one more than the number of tubes you will be collecting so you have a bit left over.

- Add the Alexa-568-dextran to the cells (dilute 1000 µg/ml stock to 20 µg/ml (50 fold dilution), mix, and begin timing.  (Example: 60µl of stock for 3 ml of cells)

- At each time point, take 0.5 ml of cells from the vial and add it to the 15 ml centrifuge tube with HL5 on ice to stop the uptake reaction.  This media needs to be cold or it will not stop the reaction.

- You need to wash away the free dextran before running on the flow cytometer.   You can spin them down as you collect or wait until you have all the samples (or all the early time points). Pellet the cells in the centrifuge for 5 minutes at 1200rpm, aspirate the media carefully avoiding the very small pellet and resuspend the pellet in 1 ml cold HL5 and keep on ice.   You probably won’t see the cell pellet, but you can leave a small volume of media at the bottom of the tube to make sure you don’t aspirate the cells.  The nature of the stream of fluid in the flow cytometer means that a small amount of background from the fluorescent dextran will not affect the measurements made by the instrument.

- The sample needs to be in a particular tube type to fit in the instrument.  The TA will provide you with a set of tubes.  Label the tubes and transfer your sample, keeping them on ice.

Once all your samples are ready, take your ice bucket with samples to BPB G05 near the Up and Atom Café in the Biology Physics building where the flow cytometry facility is located. Dr. Wu He will help us measure fluorescence of endolysosomal compartments using flow cytometry.

IV.  Imaging

At any point in the assay you can take a small amount (100-500 µl) from your sample and add it to the wells of a 8 well glass bottom chamber slide.  When the cells have settled you can image them with the 100x objective to visualize where the fluorescent dextran is in the cells.  You can also quantify the uptake by taking images of the cells and measuring the total fluorescence from a number of cells.  You can then see if the relative amount of fluorescence over time is consistent with the Flow Cytometry data.