Experiment 2:  Practice Measuring the Growth Rate of Dictyostelium discoideum

This experiment is to give students practice using a hemocytometer to measure cell density and then to use that skill to measure the doubling time of Dictyostelium cell growth

Counting Cells Using a Haemocytometer

You want to determine the cell titer using a haemocytometer.  The bottom glass part of the unit has two counting chambers.  When you put the coverslip onto the supports, it creates a chamber of a precisely known volume.  You then count the number of cells using a grid ruled onto the glass surface and since the counting area is a known size, and the volume is a known size, you can derive the titer of the cells you added.

This simple looking device is very expensive because of the precision necessary to create the chamber. BE VERY CAREFUL HANDLING IT! It should never move farther than your benchtop, the microscope and the drawer it is stored in!!! DO NOT CARRY IT TO THE SINK TO CLEAN IT. SIMPL

# Figure 1- Filling the Chamber

Y WIPE OFF THE COVERSLIP AND CHAMBER AREA WITH A KIMWIPE!  If you never hold it over the floor, you will never drop it on the floor.

- Assemble the chamber by putting the special heavy glass coverslip onto the chamber. Make sure you have a homogeneous suspension of cells so vortex the tube of cells  before taking a sample. Using 20-200 ul micropipette, take up about 12 µl of culture. Gently expel the liquid into the (V-shaped on some) space between the coverslip and the heavy glass slide (Figure 1). The fluid should move across the measuring field via capillary action.

- There are two identical chambers so you can count two samples at one time.  Use both and count both to check your reproducibility.  If you add too much volume to one side, it will flood over to the other side so watch as you fill the chamber.

- Carefully lift the hemocytometer to the microscope and focus on the gridded area shown in Figure 2.

- The central area (marked #5 in Figure 2) is a 5x5 grid of squares divided into smaller 4x4 squares. In the corners are 4 areas gridded as 4x4 (marked 2-5 in Figure 2) that are exactly the same size. With the benchtop microscopes and 10x objective, each of the 5 areas will fill the field of view, so you need to move the hemocytometer around by hand to see each area.

- Start by counting the central area (#1). If the titer is low, begin counting the outer 4 areas. Your goal is to count about 100 cells. If the titer is too low, you will not get to that number so your titer will be less accurate, but there is nothing you can do about that.  If the titer is too high, it can become difficult to count all the cells.

# Figure 2- what you see through the microscope

- You can use a mechanical counter or count in your head.

7.  To calculate the titer, multiply the number of cells per counting area by 1x104.

For example,

If you count 45 cells in one area (the central 5x5), you have 45 x 104 cells/ml or 4.5 x 105 cells/ml

If you count 100 cells by counting all 5 areas, you have 20 cells per area = 2x105 cells/ml

If the volume of culture you used to take the sample is 10 mL, then you have

4.5 x 105 cells/mL x 10mL =  4.5 x 106 total cells in your dish

If your density is high, you can count one square of the 5x5 grid and multiply by 25, but this is a very rough estimate and should not be used to determine an accurate titer.  It would be better to count more area or dilute the cells.

Calculations

There are several ways to do cell titer manipulation calculations:

Example: You have a titer of 6x107 cells/ml after triturating your stock plate. You want to start a new culture that is at 1x105 cells/ml in a total of 10 ml.

Method 1: By using the equation CS x VS  = CD x VD

C = Concentration

V = Volume

S = Stock plate

D = Diluted plate

If we plug values in above equation,

CS = 6x107 cells/ml

VS = unknown = the volume of our triturated cell stock to be used.

CD = 1x105 cells/ml

VD = 10 ml of media

(6x107 cells/ml) (VS) = (1x105 cells/ml) (10 ml)		(1)

VS = (1x105 cells/ml) (10 ml) /(6x107 cells/ml)		(2)

= 0.01666 ml =  16.6 µl		(3)

You would add 16.6µl of cell stock to 10 ml of media in the new dish/flask

Method 2: Total cells needed

Your target is to have 105 cells/ml in 10 ml, therefore your starting dish will have 106 cells in it.  What volume of your stock will give you 106 cells?

6x107 cells/ml x X ml = 106 cells

X = 106 cells/6 x 107 cells/ml = 0.017 ml

Method 3: Dilution

Your culture is at 6x107 cells/ml and you need to get to 1x 105 cells/ml.

Therefore I need to dilute my cells by a factor of 6x107/1x 105 = 600 fold

To get a 600 fold dilution of 10 ml, I need to add 1/600 of 10 ml= 10 ml /600 = 0.017 ml

NOTE:

- If you had to add 1 ml of your stock solution and your final was calculated for 10 ml of media, then you would only add 9 ml of media to the new plate.  However, in this case, since you will measure the starting concentration of cells and the actual concentration is not important, you could just as well add 1 ml to 10 ml of media and the starting concentration would be a bit lower.  This will not affect the outcome of the experiment.

- In chemistry, you would have learned that one could only dilute a stock solution. However with cells you can also make your stock more concentrated. For example, you triturate your plate with 10 ml media and determined that you had 1 x 104 cells/ml. However you need the cells at a higher concentration.  If you centrifuge all your cells to the bottom of the tube and resuspend them in 2 ml media, your titer will now be 5 x 104 cells/ml.

Determining Growth rate (generation time)

You will do a trial run of measuring the growth rate over the next few days. This will give you practice at triturating, sterile technique, using the hemocytometer and microscope, and the start of your lab notebook.

Question: What is the growth rate of cells?  Is the growth rate the same comparing cells growing on a surface and cells in suspension?

- Start a dish of cells at a density between 5x104 and 1x105 cells/ml in 12-15 ml of media.  You could use a lower density, but remember that a density of 1x104 cells/ml means 1 cell per counting area, so it will not be a very accurate count.  You can each do your own dish or share one, but we suggest starting two in case you spill or contaminate as you learn these techniques.

  - Note- One of the important things to learn as a scientist is when to worry about precision and when it does not matter.  In this experiment, you are measuring the growth rate of the cells.  It does not matter whether the starting cell density is 3x 104 cells/ml or 5x 104 cells/ml.  It is the change over time that matters, so you don’t have to worry about the starting concentration as long as you can measure it.

Once cultures are set up, take an immediate sample to check your starting cell density to make sure you calculated and pipetted correctly.  For the Petri dish, if you do this immediately after adding the cells, you can simply swirl and take a sample.  If you wait, you will need to detach them again from the surface by triturating.

Titer the cells in your petri dish several times per day using the hemocytometer. More data will give you a more accurate growth curve and more practice.  Each time you titer the cells, you will need to triturate the dish and then take out about 12 µl to add to the hemocytometer.  You can do this with the Ax2 axenic cells or the NC4 bacterial grown cells.  Note the Ax2 cells can also be grown on bacteria but the NC4 cells don’t grow in HL5 (but you can try).

Record the concentration and time when you took the titer in your notebook.  You can add the data directly to an Excel spreadsheet on the lab computers as you collect the data so you can watch the growth curve evolve.

You will record data over few days so you get plenty of practice triturating and using the hemocytometer.  This is practice for the real growth experiment that we will start on Thursday which will run through next week.

Presentation of Data

- For your result, you will be graphing the data as total time vs. titer. This could be done using Excel or other spreadsheet programs.

- Make sure you use a XY scatter so that the X values represent numbers and are correctly spaced.  Bar graphs plot the data equally separated regardless of the numerical values.

- Plot both a linear graph and a semilog graph (double click on the Y axis and you will be given choices including log scale) of the data and note the difference. In the semilog graph, the linear portion of the data represents exponential growth.  Therefore if your cells were not in log phase (exponential growth) throughout the experiment, you will need to replot the portion that is exponential, so that your trend line is only for that portion of the data.  Cells will eventually go into stationary phase, and you don’t want that affecting your calculation of the growth rate. So in your writeup, note the difference between the log plot and the linear and what portion you chose for your calculation.

- Number your graphs (Figure 1 etc.) and refer to them by number in the web site writeup.

Biologically, you are starting with a certain number of cells and over time the cell number will increase as an exponential function (2, 4, 8, 16, 32 or 2x).  Mathematically it looks like Nt = N0 2tf

So the cell number at time t (Nt) is equal to the starting cell number increased by a factor of 2 each cell generation.  t= time (hr) and f=generation frequency (generations/hr).

What you want to figure out is the generation time (hr/generation) which is 1/f.  So basically when one generation is passed you have 21 times as many cells etc.

The simplest way to estimate the generation time is from the raw data.  Look for the period when the cells are growing exponentially (so-called mid log phase).  Then figure out how long it took to get twice as many cells simply by looking at the numbers.  If the cells increased 2 fold over two days then they are dividing once per day (or about a 24 hour generation time).  If they increase 6 fold then you calculate from 2x=6 telling you how many generations they did in that amount of time.

Plotting in Excel

Here is a detailed protocol how to make your graph in Excel.

- First enter all your data into the spreadsheet. It does not matter if it is in rows or in columns.

- Highlight all your data then click the gallery icon. This icon will open a huge gallery divided into four sections. Click the Chart gallery, and select XY scatter. This will open different types of XY scatter charts and you can select the one you want by clicking on the chart. Once you click a chart, the chart you selected with you data on it will appear in a separate box.

- To label Axes, click on the toolbox icon and a box will appear. Now, select your graph by highlighting it and go to chart options in the toolbox. You can choose any category from the dropdown menu, and below that, there is a box where you can type the Chart title, vertical axis and horizontal axis of your chart. Once you are done typing, you can immediately see it in your chart.

- Chart legends. Legends are important in some cases but not in others. If you want to include the growth of two different cell types in a graph, then legend should be shown to distinguish between the two populations. The legend box is by default shown everytime you make a graph. If you don’t want to show the legend, right-click the legend box and choose delete. If you want to edit the legend, double click the legend box and a box labeled format legend will appear. You can play around how your legend would look like using this box.  To change the title in the legend from “series” to something more meaningful, right click on the legend and choose “select data”.  A box opens up where you will see a “name” section and here you may enter whatever title you wish.

- Formatting Axes. In case you want to change the scale (i.e., minimum and maximum number) in the X or Y axes, double click on the values of the axis you want to change then a box named format axis will appear. Now you can enter values you want for your minimum and maximum numbers. Not only that, you can also change major and minor units that separate the values you indicated and will appear as lines in your graph. You can also play around with graph and line color,weight, etc... using the format axis box.

- To create a semilog chart, double click the values in the Y axis. In the format axis box, click “scale” on the left hand side. Check the logarithmic scale box and  now, your Y axis  is in logarithmic scale while your axis is still in linear scale.

- Assuming that your semilog chart only contains the log phase data extracted from the growth profiles of your cells, you want to determine the doubling time or generation time of these cells. To get the generation time, right click the data in the graph and from the chart dropdown menu, click add trendline.  A box for format trendline will appear and on the side menu, click type. This will open different types of trendlines. Click on exponential then go back to the side menu and click options and then check the box for display equation on chart and then click OK.

- The equation given in the trendline can be used to calculate for generation time indicated in method 1 below.

On the linear plot in Excel, you will get a curve that starts low and then steeply curves upward.  This is the essence of exponential growth.  You have few cells for a long time and then all of a sudden the population explodes as doubling gives you a greater increase with each generation.  If you apply an exponential curve fit to the data:

(Chart/Apply Trendline (exponential) and then in options check the show equation box)

You should see a nice fit to your data.  (To check yourself, you can create an imaginary dataset with perfect numbers doubling at some arbitrary rate of your choosing. )

Excel fits an exponential with the function

Nt = N0 etf (if you like working with natural logs (ln)

It would be nice if Excel gave you the answer in base 2 (cells) but it can’t for some idiotic reason!

If it did, the equation would be:

Nt = N0 2tf

Where N= number of cells at time t

N0= number of cells at initial time

t=time in hr    and f=generation/hr

Excel automatically gives you the equation in base e, so we will use the first equation. Note that the number f is not the base 2 generation time.  It is the base e generation time.  In order to find the generation time for cells (base 2), you need to solve the equation for the case you want: that is when Nt =2 N0 or what is t when you have twice the number of cells you started with (doubling time).

So:  2= 2tf

Ln2=tf x Ln(e)

.693=tf

Excel will give you f from its curve fit and you solve for t, which is the hours for one generation.

Note that you can’t just put the growth number

Discussion:  This data should be added to your Web site along with any relevant information about the experiment.

If your plates became contaminated describe some of the causes and what you would do to prevent future contaminations in new cultures. Did you get enough data for a conclusion even if you didn’t get all you wanted?