Experiment: Imaging Nuclei of wild-type and HK321 mutants.

Question: Is there a difference between the nuclei in HK321 cells and wild-type cells?

DsRed is a tetramer

This was mutated to change the color slightly and to form dimers

This was engineered to link the dimers

This was engineered to add a Nuclear Localization Signal (NLS= KMKRKRINK) to the C-terminus of the protein- (tdTomato-NLS)

We can’t image cytokinesis in suspension easily, but we can look at the result of trying to grow cells in suspension.  Cells have been grown for 3 days in suspension and flasks with those cells will be on the shaker in the lab.  These cells have been transformed with a plasmid that encodes the expression of a gene called tdTomato-NLS

This protein is a variant of Red Fluorescent protein (RFP) called Tomato.  The gene actually encodes a dimer of Tomato (there are two copies of the gene present so the two copies are linked together making a tandem dimer of the Tomato protein in order to make the fluorescence brighter.  Thus it is called tdTomato (tandem dimer Tomato).  A nuclear localization signal (NLS) was added to the dimer so that it will be transported into the nucleus.  The NLS is primarily Lysine residues which impart a positive charge on this region of the protein.  Thus when expressed by cells, you will get red fluorescence in the nucleus because the NLS is recognized by the import machinery and brought into the nucleus.

Questions:

1.  You know now that mutant cells in suspension don’t grow, but seem to get larger with time.  The normal cell cycle consists of cells doubling in size, then DNA gets replicated followed by nuclear division (mitosis) followed by cytoplasmic division (cytokinesis).  What part of this process requires myosin II?

Are both the cytoplasm and nuclei getting larger (ie are these “giant cells”? or “giant nuclei?”or both)

The number of cells is not increasing, but is DNA being replicated and nuclear division happening even though cytokinesis is not happening?

In order to visualize nuclei in these cells we will examine the nuclei using the td-Tomato probe being expressed by the cells.  Not all cells express the fluorescent protein, but enough that it will not be hard to find cells that are fluorescent.

Procedure:

- Take cells from your shaking suspension culture of HK321 cells and put them in a glass bottom dish.  This will allow you to use the 100x oil immersion objective.  They will settle to the bottom and attach to the glass.  Try to get a density so there are many cells in any field of view. A good starting point is about 105 cells per dish.

- Begin by imaging the cells at 10-40x to visualize what the cells look like and how them compare to wild-type.  You can do this with transmitted light, but now you can also switch to looking at the red fluorescence.

- We will show you how to set up your microscope with the 100x oil immersion objective.  Basically, you would put the 100x objective in place with the objective turret dropped to the bottom, add a drop of immersion oil to the objective, then slowly bring the objective up until the oil just touches the bottom of the dish.  Be sure to set the condenser to Ph3 and then turn on the white light and find the cells by focusing up.  If you go too high, the dish will begin to lift.  If that happens move the objective down until you find the focal plane with the cells.  Then change to yellow/green light excitation (565 nm) and observe the red fluorescence.  You will have a hard time seeing the signal by eye until your eyes are dark adapted, but the camera will easily see the fluorescence.  Keep the room lights off while doing this, otherwise it will contribute background light making it harder to see the cells.  You want to bin 2 and use an exposure of about 100-500ms until you find cells with fluorescent nuclei.  Only a small percentage will actually express the RFP probe.  Search around until you can take some images of the cells to count nuclei and see the size of the nuclei.  You can also take phase contrast images with transmitted light of the cells.

- There is some background fluorescence from the media the cells are in.  You can aspirate the media and replace it with SorCM buffer (in fridge) and see what difference that makes to the images.

- Now plate the wild-type cells and look at them as a CONTROL.  You can do this first if you want, but you need to look at both so you have the control and experimental data.

- When you are done with the fluorescence imaging, you can plate the mutant cells in a plastic petri dish (P30mm or P60mm) and do a 10-20x magnification time-lapse movie to see what happens to the giant cells if they are given a surface to attach to.  You can do the wild-type in parallel if you have time. You can also do a combined phase contrast and fluorescence time-lapse to see where nuclei go when cells divide.

Phototoxicity and Photobleaching- As I discussed in lecture, you need to be concerned about photobleaching for all samples and phototoxicity for live cells.  You can begin to examine the effects of light exposure with these cells.

REMEMBER- with a 100x objective, you have many fields of view of cells on the glass surface.  You only illuminate the area you are observing when you turn on the light, so you can move the stage a tiny amount and get a whole new field of fresh cells.  You could also see whether the cells recover by turning off the light source and monitoring recovery with phase contrast (much lower light level so generally not damaging).

REMEMBER- You have a large number of ways of changing the imaging parameters and each affects photobleaching and phytotoxicity in different ways

1.  Light source brightness- The brighter the light source (knob on controller) the greater the brightness of the image, but also the greater the photon flux through the sample and a corresponding increase in damaging reactive oxygen species (ROS) and in the rate of cycling of fluorescent molecules from ground state to fluorescent state.

2.  Exposure- The longer the exposure, the longer the sample is exposed to light

3.  Interval between images- The more frequently you take images, the less time the cells have to recover.  Cells produce anti-oxidants which protect them from ROS, but this can be overwhelmed by repeated imaging at high intensity.  This affects both photobleaching and photo-toxicity.

4.  Magnification/numerical aperture- As you increase magnification, you are decreasing the field of view, so you are pumping the same number of photons through a smaller and smaller area.  But as you increase the numerical aperture you dramatically affect brightness because of the increased light collection.   From the formula below, you can see that for epifluorescence you gain the 4th power in brightness as you increase the numerical aperture for the same magnification.  You can calculate from this how much brighter you would expect the images to be as you change objectives (which you can test directly).

5.  Antioxidants: Another potential question is the effect of anti-oxidants added to the medium.  This has been reported to reduce the toxicity of fluorescence imaging.  We have a solution of 200 mg/ml vitamin C (ascorbic acid) that has been reported to dramatically improve cell survival during imaging.  If you want to try this, the stock is 100x so the final concentration would be 2 mg/ml.  The authors report waiting at least 3 hours after adding before imaging the cells to allow the cells to take up the vitamin.  We have not tested this ourselves.

In general, we have found that to reduce photo-toxicity you want to use longer exposures with lower light levels